FIRE WATCH LOG TEMPLATE

Client / Organization: __________________________________________
Site / Property Name: _________________________________________
Site Address: _________________________________________________
Job / Work Order # (Optional): _________________________________
Fire Watch Reason (Check one):
☐ Fire alarm system impaired
☐ Sprinkler system impaired
☐ Hot work operations
☐ Fire marshal / AHJ requirement
☐ Construction site fire watch
☐ Other: ___________________________

Date: ____ / ____ / ______
Shift Start Time: ________ AM / PM
Shift End Time: ________ AM / PM
Officer Name: ________________________________________________
Officer ID (Optional): ________________________________________
Supervisor / Account Manager: _________________________________

1) Fire Watch Instructions (Required)

Scope of Fire Watch Coverage (Check all that apply):
☐ Entire building / site
☐ Specific floors/areas: __________________________________________
☐ Mechanical room(s)
☐ Construction zone(s)
☐ Hot work zone(s)
☐ Exterior perimeter
☐ Other: _________________________________________________________

Patrol Frequency Requirement (Check one):
☐ Every 15 minutes
☐ Every 30 minutes
☐ Every 60 minutes
☐ Continuous / dedicated observation
☐ Other: ___________________________

Emergency Contact / Notification Instructions:

- Call 911 for smoke, fire, active flames, or immediate danger

- Notify client contact: __________________________________________

- Notify supervisor/dispatch: _____________________________________

2) Fire Watch Checklist (Start of Shift)

Before beginning patrols, confirm the following:

☐ Officer has radio/phone charged and available
☐ Officer understands patrol route and frequency requirement
☐ Officer has access to required areas (keys/cards)
☐ Fire extinguishers visible/accessible in key locations (if applicable)
☐ Emergency exits are clear and not blocked
☐ Fire lanes are not obstructed (if applicable)
☐ No obvious hazards present at start of shift
☐ Notes / special instructions reviewed

Special Instructions / Notes for This Shift:

3) Fire Watch Patrol Log (Time-Stamped Entries)

Instructions: At each patrol, record the time, route/area checked, observations, and actions taken.
Write facts only. Be clear and professional.

| Patrol # | Time (AM/PM) | Area / Route Checked | Conditions Observed (Normal / Hazard Found) | Action Taken / Notes | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 2 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 3 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 4 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 5 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 6 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 7 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 8 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 9 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 10 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 11 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |
| 12 | ______ | ________________________ | ☐ Normal ☐ Hazard Found | ________________________________ | ____ |

(Add more rows as needed.)

4) Hazards / Issues Identified (If Any)

If any hazards were identified during patrols, complete this section.

Hazard Type (Check all that apply):
☐ Smoke detected
☐ Fire detected
☐ Hot work violation (unattended / unsafe)
☐ Combustible materials improperly stored
☐ Blocked emergency exit
☐ Fire extinguisher missing or inaccessible
☐ Electrical hazard (sparking / exposed wiring)
☐ Unattended equipment producing heat
☐ Flammable liquids present / unsecured
☐ Unauthorized persons in restricted area
☐ Other: ___________________________

Hazard Location: _____________________________________________
Time Identified: ________ AM / PM

Action Taken (Check all that apply):
☐ Notified client contact
☐ Notified supervisor/dispatch
☐ Called 911
☐ Stopped work / cleared area (if safe)
☐ Removed minor hazard (if safe)
☐ Secured area / restricted access
☐ Documented with photos (if allowed)
☐ Other: ___________________________

Detailed Notes:

5) Emergency Event Log (If Applicable)

Complete only if an emergency occurred.

Emergency Type:
☐ Fire
☐ Smoke
☐ Alarm activation
☐ Medical emergency
☐ Evacuation
☐ Other: ___________________________

Time of Event: ________ AM / PM
Location: _________________________________________________

Emergency Response Actions Taken:

Agencies Contacted:
☐ Police ☐ Fire ☐ EMS
Case # / Report # (if provided): ____________________________

6) Shift End Summary

Were all required patrols completed on time?
☐ Yes
☐ No (Explain: _______________________________________________)

Overall Shift Status:
☐ No hazards observed
☐ Hazards observed and corrected
☐ Hazards observed and escalated

Summary Notes:

7) Officer Certification

I certify that the above fire watch patrols and observations were completed as documented, and that this log reflects accurate and truthful information.

Officer Name: _______________________________________________
Signature: _________________________________________________
Date: ____ / ____ / ______
Time: ________ AM / PM

8) Supervisor Review (Optional, Recommended)

Supervisor Name: ____________________________________________
Signature: _________________________________________________
Date: ____ / ____ / ______

Supervisor Notes (Optional):

Optional “Fire Watch Writing Rules” Box (Good to include at bottom)

Fire Watch Documentation Rules

- Log patrols on schedule (do not “batch fill”)

- Record exact times

- Write facts only (no opinions)

- Document all hazards immediately

- Assume this log may be reviewed by management, insurance, or fire officials

© 2026 GuardMetrics. All rights reserved.
This template is provided for operational use and may be customized by authorized security teams and GuardMetrics clients.